## Slide 1: Automatic Segmentation of the Aorta
Kathryn Shea
September 6, 2016

## Slide 2: Aortic Aneurysms
Fenestrated Endovascular Stent

## Slide 3: DICOM
Digital Imaging and Communications in Medicine
Contrast MRI of Upper Torso
Femoral Arteries
Aorta
Contrast MRI of Lower Torso

## Slide 4: Measurements Required for Stent
Identify Arteries
Find Center Line
Separate Aorta Within Image
Calculate Diameters

## Slide 5: Segmentation

## Slide 6: Segmentation
Original Image
  512 x 512 pixels
  2D grayscale array
  Underneath segmented image
Segmentation
  512 x 512 pixels
  2D binary array
  0’s are transparent
  1’s are green
  Overlaid original image
SITK Library

## Slide 7: Segmentation
0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0
0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0
0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
Binary Array (Segmented Image)

## Slide 8: Segmentation: Centroid
Center of Gravity Equation:

## Slide 9: Segmentation & 3D Modelling
Basic Process
Segmented one image
Propagate outwards to next images
  Calculate centroid of segmentation
  Segment with centroid in next image
  Compare segmented section with previous one and check for sufficient overlap
Sometimes segmentations go poorly…

## Slide 10
A
C
E
B
D

## Slide 11
A
B
C
D
E

## Slide 12: Identifying Arteries

## Slide 13: Identifying Arteries: what does a circle look like?
0 | 0 | 0 | 0 | 4.0 | 0 | 0 | 0 | 0
0 | 0 | 3.6 | 3.2 | 3.0 | 3.2 | 3.6 | 0 | 0
0 | 3.6 | 2.8 | 2.4 | 2.0 | 2.4 | 2.8 | 3.6 | 0
0 | 3.2 | 2.4 | 1.4 | 1.0 | 1.4 | 2.4 | 3.2 | 0
4.0 | 3.0 | 2.0 | 1.0 | 0.0 | 1.0 | 2.0 | 3.0 | 4.0
0 | 3.2 | 2.4 | 1.4 | 1.0 | 1.4 | 2.4 | 3.2 | 0
0 | 3.6 | 2.8 | 2.4 | 2.0 | 2.4 | 2.8 | 3.6 | 0
0 | 0 | 3.6 | 3.2 | 3.0 | 3.2 | 3.6 | 0 | 0
0 | 0 | 0 | 0 | 4.0 | 0 | 0 | 0 | 0
Shape (array, r=4)
Distances Histogram (r=30)

## Slide 14: Identifying Arteries: what does an artery look like?
A
B

## Slide 15: Identifying Arteries: Basic Process
Create list of distances by calculating BFS distance from centroid to each pixel
Sort list
Calculate average of lower 1/3 of the list (lower avg)
Calculate average of upper 1/3 of list (upper avg)
If upper avg / lower avg > threshold, it’s an artery
What should the threshold be?

## Slide 16: Deciding the Threshold: threshold for a circle
Max Ratio: 2.7
Ratio increases as shape becomes more like an oval
Ratio for images with arteries approx.: 2.9 – 3.1
Threshold: 2.845
Ratio as a function of the radius of the circle
radius
ratio

## Slide 17: Identifying Arteries: Results
Femoral
Artery
Aortic Bifurcation
Artery
Artery
Artery
Artery
Patient 1:
253 images analyzed in successfully segmented data set
95% (239/252) were correctly identified
5% (13/252) were identified as “arteries” when they were, in fact, femoral arteries either taking strange forms or splitting into two more arteries before stopping segmentation

## Slide 18: Identifying Arteries: Results
Patient 2:
485 images analyzed in successfully segmented data set
98% (477/485) were correctly identified
2% (8 images) were either not identified or falsely identified because:
  artery wasn’t segmented at all
  poor segmentation
  the artery segmentation was very short
A
B
C

## Slide 19: Identifying Arteries: Conclusions
Largely successful for aortic analysis
Not successful for femoral analysis

## Slide 20: Fixing the Centroid

## Slide 21: Fixing the Centroid
Basic Process:
Determine there is an artery present
Sample edge points
Calculate centroid of edge points
Approximate circle using histogram (“trim” the arteries)
Calculate centroid of approximated circle area

## Slide 22: Fixing the Centroid: sampling and rejecting edge points

## Slide 23: Fixing the Centroid: what does a circle look like?
0 | 0 | 0 | 0 | 4.0 | 0 | 0 | 0 | 0
0 | 0 | 3.6 | 3.2 | 3.0 | 3.2 | 3.6 | 0 | 0
0 | 3.6 | 2.8 | 2.4 | 2.0 | 2.4 | 2.8 | 3.6 | 0
0 | 3.2 | 2.4 | 1.4 | 1.0 | 1.4 | 2.4 | 3.2 | 0
4.0 | 3.0 | 2.0 | 1.0 | 0.0 | 1.0 | 2.0 | 3.0 | 4.0
0 | 3.2 | 2.4 | 1.4 | 1.0 | 1.4 | 2.4 | 3.2 | 0
0 | 3.6 | 2.8 | 2.4 | 2.0 | 2.4 | 2.8 | 3.6 | 0
0 | 0 | 3.6 | 3.2 | 3.0 | 3.2 | 3.6 | 0 | 0
0 | 0 | 0 | 0 | 4.0 | 0 | 0 | 0 | 0
Shape (array, r=4)
Distances Histogram (r=30)

## Slide 24
A #290
B
C
D
E

## Slide 25
A #300
B
C
D
E

## Slide 26
A #321
B
C
D
E

## Slide 27: Fixing the Centroid: Circle Fitting

## Slide 28: Fixing the Centroid: Results & Conclusion
Image Number | Center of Gravity | Circle Fitting Center | Difference
284 | (285, 234) | (284.84, 234.50) | (+0.84, +0.50)
290 | (284, 233) | (284.86, 233.35) | (+0.86, +0.35)
300 | (284, 236) | (284.66, 236.10) | (+0.66, +0.10)
310 | (281, 241) | (281.11, 241.76) | (+0.11, +0.76)
321 | (276, 244) | (276.45, 244.36) | (+0.45, +0.36)
#321
#300
#310
#284

## Slide 29: The End
In Review:
Segmentation (paint bucket and propagation)
Calculating Centroid (center of gravity)
Identifying Arteries (histograms, ratios, and a threshold)
Centerline Calculation (trimming & recalculating; circle fitting)
Questions?
#1
#2

## Slide 30: Extra Slides

## Slide 31: Next Step: Diameter
(pixels)
(pixels)

## Slide 32: Segmentation: Fixes
Problems | Fixes
Femoral Arteries | Multiple clicks from user on first image
Propagation Error (insufficient overlap, false centroid) | Request another click from the user
Spine Interference | Solved in past papers
Poor Segmentation | Customized edge detection function or Customized averaging color function

## Slide 33: Fixing the Centroid: Results
A #310
B
C
Distances Histogram
Distance (Pixels)
Count

## Slide 34
A #284
B
C
D
E